## Sheet1
Category | Description | Solution | Implemented SQL/R
Age buckets | In certain species, grouping by age is appropriate for determining RIs (e.g. NHPs) | Group animals into age buckets as defined on IRF Study Data Browser: 0-3.2, 3.2+ years of age. Only group primates into these age buckets; other animal species group together. | SQL
Animal / specimen duplicates: anchor date, generic duplicates | Duplicates found due to Anchor Date | Filter data points to include only distinct rows, thus removing duplicate entries | SQL
Animal / specimen duplicates: statistical analysis | Determination of data point to use for baseline from single animal (in cases where animal appears in multiple studies, etc.) | Only use one data point for RI calculation per animal's analyte, or take the average in certain appropriate cases. Decided to average in the following scenario: different panels which have overlapping analytes, where results are returned from the same animal on the same day, shall be averaged if the data points are less than or equal to 5% different. The mean of the data points was computed, and then the following formula was used: ((data-mean)/data)*100 to determine whether to keep the set of data point's average or use a data point prior to these. | R
Hemolysis, Icterus, Lipemia quality control | Utilize Hemolysis, Icterus, Lipemia as QC for filtering out specimens lacking in quality | Filter out all specimens on a particular animal and timepoint day where Hemolysis, Lipemia, or Icterus does not equal 0 | SQL
Projects with animals not at baseline | Certain projects may contain animals that are not truly at "baseline" due to having previously existed on another research protocol | Use the data from the first study the animal was enrolled on in the institute. | SQL
Projects with animals not at Baseline | Certain projects may contain animals that are not truly at "baseline" due to having been inoculated with a pathogen prior to day 0 (double inoculation studies, etc.) | Filter and remove studies where animals were determined to not be at true baseline at Day 0. | SQL
Prior vaccinations | Studies often include information about animals being vaccinated prior to arrival at the IRF facility. | If data is available, baseline should be taken on or before vaccination day instead of day 0. | SQL
Timepoint day choice | Cases occur in which not all assays are run on the same day. | Take the closest to timepoint day for an animal and assay on or before day 0; sometimes assays are taken on different timepoint days | SQL
Country of origin in groupings for primates | Primates have genetic differences based on where they came from/breeding facilities that will influence analyte results | Use country of origin as as part of the partitioning criteria. Include a grouped country of origin calculation in addition to the partitioned calculation. | R
Group size | Determination of how large the groups need to be for reliable RIs to be calculated | Calculate reference ranges on groups where n >= 20; summary statistics on groups where n < 20. | R
Values found within analyte data | Some analytes have value distributions that are fundamentally categorical (rather than continuous) in distribution | Do not calculate reference ranges on groups that are defined as being fundamentally categorically distributed (rather than continuous) values. Only calculate reference ranges on groups where the number of unique values >= 5 OR where the 5 <= number of unique values < 10 and the proportion of a single value does not go above 50%. | R
Values found within analyte data | Some analytes have values that are not compatible with RI calculation (zeros, negative values, etc.) | Do not calculate reference ranges on groups where any values are at or below zero/are a combination of analytes. Filter out analytes that are not appropriate for reference range calculation based on being a combination of analytes or not helpful to the veterinarians: 'AT', 'BUN/CRE', 'Osmolality', 'Anion Gap', 'Anion Gap +K', 'ALB/GLOB', IRF, P-LCR, ProtC.clot, MFR, HFR; filter out data points where value<=0 and not part of expected list of analytes to have negative or zero values (PDW, BASO#, BASO%, EO#, EO%, NH3, URIC). Only calculate summary statistics on analytes that are expected to have zeros (PDW, BASO#, BASO%, EO#, EO%, NH3, URIC) | SQL